Docket for 10/22/2020, 10:00 AM    Judge:Schodosky, Renee
	# of
Ticket #	Issue Dept	Cont	Respondent Name	Violation Dt	Occurrence Address	Issuer	Violations
	19-0006783	Property 	*	Holland, Eva	7/5/2018	1584 DEWEY AVENUE	Rosado, Anais	2
	Violation(s)	PM-302.7	Accessory structures.  All accessory structures, including detached garages, sheds, fences, gates and walls, shall be maintained structurally sound and	PM-304.7	The roof and flashing shall be sound, tight and not have defects that admit rain.  Roof drainage shall be adequate to prevent dampness or deterioration 
	 in good repair. 
----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------	in the walls or interior portion of the structure.  Roof drains, gutters and downspouts shall be maintained in good repair and free from obstructions.  Roof 
	water shall not be discharged in a manner that creates a public nuisance
	20-0003528	Property 	Washington, Bernard	11/2/2018	331 DAVIS STREET	Rosado, Anais	2
	Washington, Lisa, Respondent	2010 Colfax Street, Evanston, IL 60201
	Violation(s)	PM-104.11	Permits required.  Any owner or authorized agent who intends to construct, enlarge, alter, repair, move, demolish, or change the occupancy of a building 	PM-304.7	The roof and flashing shall be sound, tight and not have defects that admit rain.  Roof drainage shall be adequate to prevent dampness or deterioration 
	or structure, or to erect, install, enlarge, alter, repair, remove, convert or replace any electrical, gas, mechanical or plumbing system, the installation or 	in the walls or interior portion of the structure.  Roof drains, gutters and downspouts shall be maintained in good repair and free from obstructions.  Roof 
	which is regulated by the International Building Code, International Residential Code, National Fire Prevention Association 101, Life Safety Code, 	water shall not be discharged in a manner that creates a public nuisance
	International Fire Code, International Mechanical Code, International Plumbing Code, International Fuel Gas Code, NEC Electrical Code or the State of 
	Illinois Plumbing Code or to cause any such work to be done, shall first make application to the building official and obtain the required permit.
Count:	2