Docket for 2/18/2021, 10:00 AM    Judge:Brunner, Susan
	# of
Ticket #	Issue Dept	Cont	Respondent Name	Violation Dt	Occurrence Address	Issuer	Violations
	20-0003565	Property 	*	Boswell, Larry	7/13/2020	2329 LEE STREET	Schnur, Angelique	3
	Violation(s)	PM-302.7	Accessory structures.  All accessory structures, including detached garages, sheds, fences, gates and walls, shall be maintained structurally sound and	PM-304.2	Protective treatment.  All exterior surfaces, including but not limited to, doors, door and window frames, cornices, porches, trim, balconies, decks and 	PM-304.3.1	Alley frontage identification.  Buildings shall have approved address numbers placed in a position to be plainly legible and visible from the alley when a 
	 in good repair. 	fences shall be maintained in good condition. Exterior wood surfaces, other than decay-resistant woods, shall be protected from the elements and decay	premises abuts an alley. Premises shall have the address placed on garages when present or on the principal structure. These numbers shall contrast 
	 by painting or other protective covering or treatment. Peeling, flaking and chipped paint shall be eliminated and surfaces re-painted. All siding and 	with their background. Address numbers shall be Arabic numerals or alphabet letters. Numbers shall be a minimum of 4 inches (102 mm) high with a 
	masonry joints as well as those between the building envelope and the perimeter of windows, doors, and skylights shall be maintained weather resistant 	minimum stroke width of 0.5 inch (12.6 mm).
_______________________________________________________________________________________________________________________________________________________________
	and water tight. All metal surfaces subject to rust or corrosion shall be coated to inhibit such rust and corrosion and all surfaces with rust or corrosion 
	shall be stabilized and coated to inhibit future rust and corrosion. Oxidation stains shall be removed from exterior surfaces. Surfaces designed for 
	stabilization by oxidation are exempt from this requirement.
	21-0000007	Property 	*	Hurt, Sarah	1/6/2021	1839 LAUREL AVENUE	Rosado, Anais	3
	Violation(s)	PM-104.6	The code official may require written submittal of estimates, executed contracts, invoices, receipts, proof of payment of other documentation regarding 	PM-504.1	General.  All plumbing fixtures shall be properly installed and maintained in working order, and shall be kept free from obstructions, leaks and defects 	PM-602.3	Every owner and operator of any building who rents, leases, or lets one or more dwelling unit, lodging unit, rooming unit, dormitory or guest room on 
	the completion or proposed completion of work for which a notice of violation has been issued.  Submittal of leases may be required to establish the 	and be capable of performing the function for which such plumbing fixtures are designed. All plumbing fixtures shall be maintained in a safe, sanitary 	terms, either expressed or implied, to furnish heat to the occupants thereof shall supply heat during the period from September 15th to June 1st to 
	occupancy of any leased or rented space	and functional condition.	maintain a temperature of not less than 68F (20C) in all habitable rooms, bathrooms and toilet rooms. Space heaters, whether portable or permanently 
	installed, shall not be utilized as the primary source of heat for any such unit or room. Buildings or individual units shall employ central heating systems 
	except where a designed system is approved by the building official.
Count:	2