Docket for 2/6/2020, 09:30 AM    Judge:Greenspan, Jeff
	# of
Ticket #	Issue Dept	Cont	Respondent Name	Violation Dt	Occurrence Address	Issuer	Violations
	19-0015183	Fire	*	Crump, Bridgett	12/23/2019	1423 HARTREY AVENUE	Taylor, Timothy	3
	Rimland LLC, Respondent	1423 Hartrey, Evanston, IL 60202
	Violation(s):	F703.2.2	Hold-open devices and closures.holdopendevices and automatic door closures where provided, shall be maintained.  During the period that such devices 	F703.2.2	Hold-open devices and closures.holdopendevices and automatic door closures where provided, shall be maintained.  During the period that such devices 	F907.6.5	MONITORING. Fire alarm systems required by this chapter or by the International Building Code shall be monitored bby an approved supervising station 
	isout of service  for repairs, the door it operates shalk remain in the closed position.
_________________________________________________________________________________________________________________________________________________________________	isout of service  for repairs, the door it operates shalk remain in the closed position.	in accordance with NFPA 72.
	19-0015182	Fire	*	Crump, Bridgett	12/23/2019	1323 FOWLER AVENUE	Taylor, Timothy	2
	Rimland LLC, Respondent	1265 Hartrey, Evanston, IL 60202
	Violation(s):	F703.2.2	Hold-open devices and closures.holdopendevices and automatic door closures where provided, shall be maintained.  During the period that such devices 	F-906.2	Fire extinguishers shall be selected, installed and maintained in accordance with this section and NFPA 10.
	isout of service  for repairs, the door it operates shalk remain in the closed position.
_________________________________________________________________________________________________________________________________________________________________	Exception: The travel distance to reach an extinguisher shall not apply to the spectator seating portions of Group A-5 occupancies.
	19-0015177	Fire	*	Crump, Bridgett	12/23/2019	1818 SIMPSON STREET	Taylor, Timothy	4
	Rimland Securties LLC, 	1818 Simpson St, Evanston, IL 60201
	Violation(s):	F-605.6	Open junction boxes and open-wiring splices shall be prohibited.  Approved covers shall be provided for all switch and electrical outlet boxes.	F-605.6	Open junction boxes and open-wiring splices shall be prohibited.  Approved covers shall be provided for all switch and electrical outlet boxes.	F703.2.2	Hold-open devices and closures.holdopendevices and automatic door closures where provided, shall be maintained.  During the period that such devices 
	isout of service  for repairs, the door it operates shalk remain in the closed position.
_________________________________________________________________________________________________________________________________________________________________
	19-0006772	Property 	*	Isaac, Sargon	7/19/2019	117 CALLAN AVENUE	Snider, Kimberly	13
	Isaac, Hilda, Respondent	1616 SHERIDAN ROAD #4D, WILMETTE, IL
	RODRICKS, VERNON, 	2815 W ROSCOE ST, CHICAGO, IL 60618
	Violation(s):	PM-104.6	The code official may require written submittal of estimates, executed contracts, invoices, receipts, proof of payment of other documentation regarding 	PM-104.6	The code official may require written submittal of estimates, executed contracts, invoices, receipts, proof of payment of other documentation regarding 	PM-302.7	Accessory structures.  All accessory structures, including detached garages, sheds, fences, gates and walls, shall be maintained structurally sound and in 
	the completion or proposed completion of work for which a notice of violation has been issued.  Submittal of leases may be required to establish the 	the completion or proposed completion of work for which a notice of violation has been issued.  Submittal of leases may be required to establish the 	good repair. 
	occupancy of any leased or rented space
_________________________________________________________________________________________________________________________________________________________________
	20-0000014	Zoning	J.P. MORGAN CHASE, NA, 	12/10/2019	609 DAVIS STREET	Griffith, Michael	1
	Violation(s):	6-11-4-2	The following uses are permitted in the D3 district: 
	Artist studio (when located above the ground floor). 
	Commercial indoor recreation. 
	Commercial parking garage. 
	Cultural facility. 
	Dwellings (when located above the ground floor). 
	Financial institution. 
	Food store establishment. 
	Funeral services excluding on site cremation. 
	Government institution. 
	Hotel. 
	Medical broadcasting station. 
	Membership organization. 
	Office. 
	Public utility. 
	Residential care home—Category I (when located above the ground floor and subject to the general requirements of Section 6-4-4 of this Title). 
	Restaurant—Type 1. 
	Retail goods establishment. 
	Retail services establishment. 
	(Ord. 43-0-93; amd. Ord. 58-0-02)
_________________________________________________________________________________________________________________________________________________________________
	19-0006766	Property 	*	Sutton, Carlis	7/19/2019	1813 DARROW AVENUE	Rosado, Anais	7
	Violation(s):	9-15-3(A)	Every dwelling unit shall be equipped with at least one approved carbon monoxide alarm in an operating condition within fifteen feet (15') of every room 	PM-304.15	Doors.  All exterior doors, door assemblies and hardware shall be maintained in good condition. Locks at all entrances to dwelling units, rooming units 	PM-309.1	Infestation.  All structures shall be kept free from insect and rodent infestation. All structures in which insects or rodents are found shall be promptly 
	used for sleeping purposes. The carbon monoxide alarm may be combined with smoke detecting devices provided that the combined unit complies with 	and guestrooms shall tightly secure the door. Locks on means of egress doors shall be in accordance with Section 702.3.	exterminated by approved processes that will not be injurious to human health. After extermination, proper precautions shall be taken to prevent 
	the respective provisions of this code, reference standards, and departmental rules relating to both smoke detecting devices and carbon monoxide alarms 
	and provided that the combined unit emits an alarm in a manner that clearly differentiates the hazard.
Count:	6
Page 2 of 2