Docket for 3/12/2020, 09:30 AM    Judge:Greenspan, Jeff
	# of
Ticket #	Issue Dept	Cont	Respondent Name	Violation Dt	Occurrence Address	Issuer	Violations
	20-0000031	Property 	Gowrylow, Cleo	10/21/2019	2012 MAPLE AVENUE	Snider, Kimberly	4
	Violation(s)	PM-104.6	The code official may require written submittal of estimates, executed contracts, invoices, receipts, proof of payment of other documentation regarding 	PM-304.10	Stairways, decks, porches and balconies.  Every exterior stairway, deck, porch and balcony, and all appurtenances attached thereto, shall be 	PM-304.5	Foundation walls.  All foundation walls shall be maintained plumb and free from open cracks and breaks and shall be kept in such condition so as to 
	the completion or proposed completion of work for which a notice of violation has been issued.  Submittal of leases may be required to establish the 	maintained structurally sound, in good repair, with proper anchorage and capable of supporting the imposed loads.	prevent the entry of rodents and other pests. 
	occupancy of any leased or rented space
______________________________________________________________________________________________________________________________________________________________
	19-0006725	Property 	*	LaSalle National Trust, #119180	3/28/2017	1943 SHERMAN AVENUE	Schnur, Angelique	16
	Radman, Marc, Respondent	1943 Sherman Ave, Evanston, IL 60201
	Violation(s)	PM-304.10	Stairways, decks, porches and balconies.  Every exterior stairway, deck, porch and balcony, and all appurtenances attached thereto, shall be 	PM-304.10	Stairways, decks, porches and balconies.  Every exterior stairway, deck, porch and balcony, and all appurtenances attached thereto, shall be 	PM-304.13.1	Glazing.  All glazing materials shall be maintained free from cracks and holes.
	maintained structurally sound, in good repair, with proper anchorage and capable of supporting the imposed loads.
________________________________________________________________________________________________________________________________________________________________
	20-0015186	Fire	Reid, Patrick Hugo	2/20/2020	1164 DODGE AVENUE	Taylor, Timothy	3
	Violation(s)	F315.3.1	Ceiling clearance.  Storage shall be maintained 2 feet (610 mm) or more below the ceiling in nonsprinklered areas of buildings or a minimum of 18 inches 	F609.3.3.2	Grease accumulation.  If during the inspection it is found that hoods, grease removal devices, fans, ducts or other appurtenances have an accumulation	F609.3.4	Extinguishing system service. Automatic fire extinguishing systems protecting commerial cooking systems shall be serviced as required in Section 
	(457 mm) below sprinkler head deflectors in sprinklered areas of buildings.
	 of grease, such components shall be cleaned.
_____________________________________________________________________________________________________________________________________________________________
	20-0000032	Zoning	Riley, Lloyd	9/9/2019	1804 WASHINGTON 	Griffith, Michael	1
	Violation(s)	6-4-1-1	The following types of uses of land and buildings, and no others, are allowed in the zoning districts established by this Ordinance: 
	
	(A) Permitted uses specifically listed in the various districts or specifically permitted in all districts. 
	
	(B) Special uses specifically listed in the various districts or specifically provided for in all districts, but only in accordance with the standards and 
	procedures for special uses set forth in Section 6-3-5, "Special Uses". 
	
	(C) Unique uses as authorized pursuant to the standards and procedures for unique uses set forth in Section 6-3-7, "Unique Uses". 
	
	(D) Uses lawfully existing on the effective date of this Ordinance, subject to all the provisions of Chapter 6, "Nonconforming Uses and Noncomplying 
	Structures".
Count:	4